Ordinance No. #1755
AN ORDINANCE AMENDING AND SUPPLEMENTING CHAPTER XIII (FIRE PREVENTION AND PROTECTION), SECTION 13-2 (FIRE PROTECTION SYSTEMS – PERMITS) OF THE REVISED GENERAL ORDINANCES OF THE BOROUGH OF KEANSBURG. 

ADD: 

Section 1:

BE IT ORDAINED by the Mayor and Council of the Borough of Keansburg that the Revised General Ordinance of the Borough of Keansburg Chapter XIII (Fire Prevention and Protection), Section 13-2 (Fire Protection Systems - Permits) and be amended and supplemented as follows:

Purpose -13-2.1

The purpose of this ordinance is to safeguard life and property by ensuring that all work involving fire protection systems within the Borough of Keansburg is performed in compliance with applicable state codes, under permit, and subject to inspection and approval by the appropriate enforcing agencies.

Definitions 13-2.2

A. Fire Protection System shall mean any sprinkler system, standpipe system, fire pump, fire alarm system, fire detection system, fire suppression system, fire department connection (FDC), special hazard suppression system (e.g., kitchen hood, CO₂, FM-200, clean agent), or any component thereof.

B. Work shall mean the installation, alteration, replacement, relocation, repair, or removal of any fire protection system or component.

13-2.3 Permit Requirement

A. No person, contractor, property owner, or entity shall install, alter, replace, relocate, repair, or remove any fire protection system or component within the Borough of Keansburg without first obtaining the required permits from the Borough Construction Office under the Fire Protection Subcode and/or other applicable subcodes of the New Jersey Uniform Construction Code.

B. This requirement includes, but is not limited to:

1. Installation or relocation of a fire department connection (FDC).

2. Modifications to sprinkler piping, heads, valves, risers, or related appurtenances.

3. Installation or modification of fire alarm or detection devices.

4. Installation or modification of fire suppression systems (kitchen hood, CO₂, clean agent, etc.).

5. Installation or modification of standpipes, fire pumps, or water supply connections.

C. Exemption: Ordinary maintenance activities, as defined by the New Jersey Uniform Construction Code, which do not affect system performance or operation, shall not require a permit.

13-2.4 Enforcement

The Borough Construction Official, the Borough Fire Subcode Official, and the Borough Fire Official shall be the enforcing authorities of this ordinance. They shall have the authority to review applications, issue permits, perform inspections, and enforce compliance with the New Jersey Uniform Fire Code and Uniform Construction Code.

13.2-5 Penalties

Any person, firm, or corporation violating any provision of this ordinance shall be subject to penalties as set forth in the New Jersey Uniform Fire Code (N.J.A.C. 5:70-2.12) and Uniform Construction Code (N.J.A.C. 5:23-2.31), including fines, orders to cease work, and/or orders to restore systems to proper working condition.

Section 2:
REPEALER.  
The remainder of all other sections and subsections of the aforementioned ordinance not specifically amended by this Ordinance shall remain in full force and effect.

Section 3:
INCONSISTENT ORDINANCES. 
All Ordinances or parts thereof inconsistent with the provisions of this ordinance are hereby repealed as to such inconsistency.

Section 4:
SEVERABILITY.  
If any section, paragraph, subdivision, clause or provision of this ordinance shall be adjudged invalid, such adjudication shall apply only to the section, paragraph, subdivision, clause or provision so adjudged and the remainder of this ordinance shall be deemed valid and effective.

Section 5:
EFFECTIVE DATE.  
This ordinance shall take effect upon its passage and publication according to law and approval by the Department of Transportation.

